{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":36,"n_cols":8,"rows_kept":36,"merged":[[0,0,0,7],[2,0,3,0],[2,1,3,1],[2,7,33,7],[4,0,5,0],[5,1,6,1],[6,0,7,0],[8,0,9,0],[10,0,11,0],[12,0,13,0],[13,1,19,1],[14,0,15,0],[16,0,17,0],[18,0,19,0],[20,0,21,0],[22,0,23,0],[22,1,23,1],[24,0,25,0],[26,0,27,0],[26,1,27,1],[28,0,29,0],[28,1,29,1],[30,0,31,0],[30,1,31,1],[32,0,33,0],[35,0,35,7]]}
["惠州市君之健综合服务有限公司空调设施（第三人民医院）     更换保温报价表"]
["序号","名  称","规格    型号","单位","数量","单价(元)","合计(元)","备注"]
[1,"总院区2号楼空调设备层平行主管保温","DN200 （双层）","米",20,null,null,"1.保温棉品牌为：华美保温棉2CM厚保温棉，保温专用胶水品牌为：精品华美，必须符合国家标准；\n2.保温棉更换应严格执行相关标准和流程，避免出现质量问题；\n3.更换后保温棉需要进行质量监测，确定其保温效果符合要求；\n4.保温棉更换项目费用包括但不限于管道上阀门配件保温、保温胶水、天花开口及修复、保温粘贴面除锈、垃圾清除、辅材、现场措施费等费用；     5.报价含税、要求同一型号规格单价一致。6.结算价以实际工程量和中标单价进行核定。"]
[null,null,"DN150 （双层）","米",60]
[2,"总院区2号楼空调设备层风柜冷冻水支管保温","DN150 （双层）","米",134]
[null,"总院区3号楼空调设备层平行主管保温","DN200 （双层）","米",318]
[3,null,"DN150 （双层）","米",234]
[null,"总院区3号楼空调设备层冷冻水支管保温","DN80  （单层）","米",158]
[4,"总院区3号楼空调设备层风柜排水管保温","DN80  （单层）","米",110]
[null,"总院区供应室1号及2号风柜机房冷冻水支管保温","DN80  （单层）","米",83]
[5,"总院区新生儿科风柜机房冷冻水支管保温","DN80  （单层）","米",18]
[null,"总院区ICU风柜机房冷冻水支管保温","DN80  （单层）","米",29]
[6,"总院区产一区风柜机房冷冻水支管保温","DN80  （单层）","米",17]
[null,"住院部（7楼、8楼、9楼、11楼）走廊通道空调冷冻水管平行管保温棉更换","DN25","米",98]
[7,null,"DN40","米",104]
[null,null,"DN50","米",65]
[8,null,"DN65","米",30]
[null,null,"DN80","米",102]
[9,null,"DN100","米",70]
[null,null,"DN125","米",95]
[10,"2楼肛肠科空调风机房内空调冷冻水管保温棉更换","DN50","米",29]
[null,"住院部7-13楼空调新风机房冷冻水管保温棉更换","DN65","米",88]
[11,"3楼体检小餐到体检管理中心的通道及大厅空调冷冻水管平行管保温棉更换","DN50","米",58]
[null,null,"DN32","米",43]
[12,"3楼骨科中心空调冷冻管平行管保温棉更换","DN50","米",20]
[null,"二楼骨科中心空调冷冻管平行管保温棉更换","DN65","米",185]
[13,"三楼普检C区空调冷冻管平行管及支管保温棉更换","DN50","米",59]
[null,null,"DN32","米",70]
[14,"三楼普检B区空调冷冻管平行管及支管保温棉更换","DN50","米",60]
[null,null,"DN32","米",59]
[15,"二楼内科门诊空调冷冻管平行管及支管保温棉更换","DN50","米",65]
[null,null,"DN32","米",75]
[16,"二楼功能科（兵检）空调冷冻水管平行管保温棉更换","DN50","米",116]
[null,"二楼妇产科空调冷冻水管平行管保温棉更换","DN50","米",45]
[null,"合计"]
["注：1.本次报价最高限价10万元；第一轮为最终报价，选取符合条件总价最低者进行第二轮价格及项目事项谈判。2.供应商经营范围符合相关行业要求。3.供应商提供营业执照、法人身份证复印件、委托书及被委托人身份证复印件。"]